## BID-PROPOSAL FORM
PROCUREMENT MANAGEMENT DEPARTMENT BID/PROPOSAL FORM
ADDENDUM 3
COMPANY NAME:
SOLICITATION: | B200316BJB - Principia Drive Water Main Replacement
Having carefully examined the Contract Documents, Contractor/Vendor proposes to furnish the following which meeting these specifications.
PRICING Pricing shall be inclusive of all labor, equipment, supplies, overhead, profit, material, and any other incidental costs required to perform and complete all work as specified in the Contract Documents. Quantities are not guaranteed. Final payment will be based on actual quantities. Any material deviation dependent on field conditions is at owners discrection and at no additional cost to owner. All Unit Prices will be bid at the nearest whole penny. The Excel document contains formulas for convenience, however it is the Contractor’s responsibility to verify all pricing and calculations are CORRECT. Lee County is not responsible for errors in formulas or calculations contained within Excel document(s). REMINDER Bidders are required to bid on ALL base bid line items and MUST select to bid on all items under EITHER Alternate “A” or Alternate “B” in order to be considered for award of this bid. Bidders shall not provide pricing for both alternate categories. Should a Bidder provide pricing for both alternate categories their bid shall be deemed non-responsive and therefore ineligible for award. In the event there is a discrepancy between a subtotal or total amount and the unit prices and extended amounts, the unit prices will prevail and the corrected extension(s) and total(s) will be considered the price. The County will only accept bids submitted on bid forms provided by the County. Bids submitted on other forms, other than those provided by the County, will be deemed non-responsive and ineligible for award. PLEASE ENSURE you have provided a printed copy of the Bid Schedule with your hard copy submission packages and provided the excel version with your digital submission package.
B200316BJB - Principia Drive Water Main Replacement
PAVING & GRADING
Item | Description | Unit of Measure | Estimated Quantity | Unit Price | Extended Amount
1 | Remove & Replace Street Pavement Surface & Base
a | 3/4" Type S3 Asphaltic Concrete (trench) | SY | 415 |  | 0
b | 6" Limerock Base (trench) | SY | 415 |  | 0
c | 12" Stabilized Subgrade (trench) | SY | 415 |  | 0
2 | Road Restoration
a | 3/4" S3 Asphalt Overlay (all roads) | SY | 4487 |  | 0
3 | Remove, Dispose, & Replace Sidewalk |  |  |  | 0
a | Concrete Sidewalk | SY | 69 |  | 0
4 | Furnish & Install Erosion Control |  |  |  | 0
a | Inlet Protection | EA | 12 |  | 0
b | Silt Fence | LF | 3000 |  | 0
c | Turbidity Barrier | LF | 170 |  | 0
5 | Pipe Demolition & Abandonment |  |  |  | 0
a | Demolition (remove AC mains) | LF | 15 |  | 0
b | Grout & Leave in Place AC Main & Services | LF | 2607 |  | 0
SUBTOTAL: PAVING & GRADING |  |  |  |  | 0
POTABLE WATER
Item | Description | Unit of Measure | Estimated Quantity | Unit Price | Extended Amount
6 | Furnish & Install Pressurized Pipelines & Interconnection
a | 8" Ductile Iron Pipe | LF | 44 |  | 0
b | 6" Ductile Iron Pipe | LF | 156 |  | 0
c | 4" Ductile Iron Pipe | LF | 1249 |  | 0
d | 10" Steel Casing | LF | 95 |  | 0
e | Tie Back | EA | 1 |  | 0
7 | Furnish & Install Valves & Boxes
a | 2" Gate Valve | EA | 21 |  | 0
b | 4" Gate Valve | EA | 6 |  | 0
c | 8" Gate Valve | EA | 1 |  | 0
d | 10" Gate Valve | EA | 4 |  | 0
8 | Furnish & Install Fire Hydrant Assemblies
| Fire Hydrant Assembly w/ 6" Gate Valve | EA | 4 |  | 0
9 | Furnish & Install Water Services
| Connect to & Relocate Existing Water Meters | EA | 21 |  | 0
10 | Furnish & Install Hot/Cold Taps
| 18" Hot Tap w/ 10" Tapping Valve | EA | 1 |  | 0
| 10" Cut In - Cold Tap | EA | 1 |  | 0
11 | Furnish & Install Vertical and Horizonal Deflections | EA | 10 |  | 0
12 | Furnish & Install Blowoff Assemblies | EA | 6 |  | 0
13 | Furnish & Install Air Release Valves
| Air Release Valves & Bollards | EA | 3 |  | 0
SUB-TOTAL POTABLE WATER | Air Release Valves & Bollards | EA | 3 |  | 0
MISCELLANEOUS
Item | Description | Unit of Measure | Estimated Quantity | Unit Price | Extended Amount
14 | Miscellaneous Restoration | LS | 1 |  | 0
15 | Mobilization/Demobilization | LS | 1 |  | 0
16 | Maintenance of Traffic | LS | 1 |  | 0
17 | Survey Layout & As-built Drawings | LS | 1 |  | 0
18 | Pre-Construction Video | LS | 1 |  | 0
19 | Replacement of Unsuitable Materials (including rock) | CY | 167 |  | 0
SUBTOTAL: MISCELLANEOUS |  |  |  |  | 0
BASE BID SUMMARY
PROJECT BASE BID TOTAL |  |  |  | 0
ALTERNATES
ALTERNATE INSTRUCTIONS: Bidders are to complete EITHER Alternate "A" or Alternate "B". Do NOT complete both.
ALTERNATE "A"
Item | Description | Unit of Measure | Estimated Quantity | Unit Price | Extended Amount
A-1 | 10" HDPE DR-11 WM, HDD (WITH ROCK BIT) & OPEN CUT | LS | 1 |  | 0
PROJECT ALTERNATE "A" BID TOTAL |  |  |  |  | 0
ALTERNATE "B"
Item | Description | Unit of Measure | Estimated Quantity | Unit Price | Extended Amount
B-1 | 10" HDPE DR-11 WM HDD (WITH ROCK BIT) & 10" DI OPEN CUT | LS | 1 |  | 0
PROJECT ALTERNATE "B" BID TOTAL |  |  |  |  | 0
PROJECT TOTAL:
PROJECT TOTAL BID |  |  |  | 0
PROJECT TOTAL:
(Use Words to Write Total)