## BID-PROPOSAL FORM
PROCUREMENT MANAGEMENT DEPARTMENT BID/PROPOSAL FORM
COMPANY NAME:
SOLICITATION: |  | B230169BAG Corkscrew Road Widening - Phase II
Having carefully examined the Contract Documents, Contractor/Vendor proposes to furnish the following which meeting these specifications.
PRICING Pricing shall be inclusive of all labor, equipment, supplies, overhead, profit, material, and any other incidental costs required to perform and complete all work as specified in the Contract Documents. All Unit Prices will be bid at the nearest whole penny. The Excel document contains formulas for convenience, however it is the Contractor’s/Vendor's responsibility to verify all pricing and calculations are CORRECT. Lee County is not responsible for errors in formulas or calculations contained within Excel document(s). In the event there is a discrepancy between a subtotal or total amount and the unit prices and extended amounts, the unit prices will prevail and the corrected extension(s) and total(s) will be considered the price. The County will only accept bids submitted on bid forms provided by the County. Bids submitted on other forms, other than those provided by the County, will be deemed non-responsive and ineligible for award. PLEASE ENSURE you have provided a printed copy of the Bid Schedule with your hard copy submission packages and provided the excel version with your digital submission package.
CORKSCREW ROAD PHASE II
SECTION 0001 ROADWAY
Item | Description |  | Unit of Measure | Estimated Quantity | Unit Price | Extended Amount
101-1 | MOBILIZATION |  | LS | 1 |  | 0
102-1 | MAINTENANCE OF TRAFFIC |  | LS | 1 |  | 0
104-10-3 | SEDIMENT BARRIERS - SILT FENCE |  | LF | 24365 |  | 0
107-2 | MOWING |  | AC | 248 |  | 0
110-1-1 | CLEARING & GRUBBING (38.60 ACRES) |  | LS | 1 |  | 0
120-1 | EXCAVATION |  | CY | 145477 |  | 0
120-6 | EMBANKMENT |  | CY | 43550 |  | 0
160-4 | TYPE B STABILIZATION |  | SY | 72040 |  | 0
285-7-04 | OPTIONAL BASE, BASE GROUP 04 |  | SY | 6998 |  | 0
285-7-10 | OPTIONAL BASE, BASE GROUP 10 |  | SY | 52354 |  | 0
327-70-6 | MILLING EXIST ASPH PAVT, 1 1/2" AVG DEPTH |  | SY | 6950 |  | 0
334-1-12 | SUPERPAVE ASPHALTIC CONC, SP-9.5, TRAFFIC B (1") |  | TN | 360.9 |  | 0
334-1-13 | SUPERPAVE ASPHALTIC CONC, SP-12.5,TRAFFIC C (3") |  | TN | 8628.9 |  | 0
337-7-82 | ASPHALT CONCRETE FRICTION COURSE, TRAFFIC C, FC-9.5, PG 76-22 (1 1/2") |  | TN | 4939.6 |  | 0
339-1 | MISCELLANEOUS ASPHALT PAVEMENT (2") |  | TN | 78.7 |  | 0
400-0-11 | CONCRETE CLASS NS, RETAINING WALL, SCHEME 1 (4' AVG. HEIGHT) |  | CY | 567 |  | 0
400-1-2 | CONCRETE CLASS I, ENDWALL |  | CY | 21 |  | 0
400-2-11 | CONCRETE CLASS II, RETAINING WALL |  | CY | 73 |  | 0
425-1-361 | INLETS, CURB, TYPE P-6, <10' |  | EA | 17 |  | 0
425-1-461 | INLETS, CURB, TYPE J-6, <10' |  | EA | 6 |  | 0
425-1-462 | INLETS, CURB, TYPE J-6, >10' |  | EA | 1 |  | 0
425-1-549 | INLETS, DT BOT, TYPE D, MODIFY |  | EA | 2 |  | 0
425-1-551 | INLETS, DT BOT, TYPE E, <10' |  | EA | 2 |  | 0
425-2-61 | MANHOLES, P-8, <10' |  | EA | 6 |  | 0
425-2-72 | MANHOLES, J-8, >10' |  | EA | 1 |  | 0
425-2-91 | MANHOLES, J-8, <10' |  | EA | 46 |  | 0
425-5 | MANHOLE, ADJUST |  | EA | 1 |  | 0
430-175-118 | PIPE CULVERT, OPTIONAL MATERIAL, ROUND, 18" S/CD |  | LF | 2063 |  | 0
430-175-124 | PIPE CULVERT, OPTIONAL MATERIAL, ROUND, 24" S/CD |  | LF | 1075 |  | 0
430-175-130 | PIPE CULVERT, OPT MATERIAL, ROUND, 30" S/CD |  | LF | 1125 |  | 0
430-175-136 | PIPE CULVERT, OPT MATERIAL, ROUND, 36" S/CD |  | LF | 4743 |  | 0
430-175-142 | PIPE CULVERT, OPT MATERIAL, ROUND, 42" S/CD |  | LF | 1290 |  | 0
430-175-148 | PIPE CULVERT, OPT MATERIAL, ROUND, 48" S/CD |  | LF | 1610 |  | 0
430-175-160 | PIPE CULVERT, OPT MATERIAL, ROUND, 60" S/CD |  | LF | 3153 |  | 0
430-175-224 | PIPE CULVERT, OPTIONAL MATERIAL, OTHER SHAPE-ELLIP/ARCH, 24" S/CD |  | LF | 24 |  | 0
430-175-230 | PIPE CULVERT, OPT MATERIAL, OTHER SHAPE - ELLIP/ARCH, 30" S/CD |  | LF | 16 |  | 0
430-175-236 | PIPE CULVERT, OPT MATERIAL, OTHER SHAPE - ELLIP/ARCH, 36" S/CD |  | LF | 152 |  | 0
430-175-242 | PIPE CULVERT, OPT MATERIAL, OTHER SHAPE - ELLIP/ARCH, 42" S/CD |  | LF | 346 |  | 0
430-982-125 | MITERED END SECTION, OPTIONAL ROUND, 18" CD |  | EA | 1 |  | 0
430-982-141 | MITERED END SECTION, OPTIONAL ROUND, 48" CD |  | EA | 1 |  | 0
430-982-143 | MITERED END SECTION, OPTIONAL ROUND, 60" CD |  | EA | 1 |  | 0
430-982-629 | MITERED END SECTION, OPTIONAL - ELLIPTICAL/ARCH, 24" CD |  | EA | 4 |  | 0
430-982-633 | MITERED END SECTION, OPTIONAL - ELLIPTICAL/ARCH, 30" CD |  | EA | 1 |  | 0
430-982-640 | MITERED END SECTION, OPTIONAL - ELLIPTICAL/ARCH, 42" CD |  | EA | 8 |  | 0
520-1-7 | CONCRETE CURB & GUTTER, TYPE E |  | LF | 14236 |  | 0
520-1-10 | CONCRETE CURB & GUTTER, TYPE F |  | LF | 14617 |  | 0
520-3 | VALLEY GUTTER - CONCRETE |  | LF | 51 |  | 0
522-2 | CONCRETE SIDEWALK AND DRIVEWAYS, 6" THICK |  | SY | 6714 |  | 0
527-2 | DETECTABLE WARNING SURFACE (WET SET ONLY) |  | SF | 213 |  | 0
530-3-4 | RIPRAP, RUBBLE, F&I, DITCH LINING, 2' THICK |  | TN | 389.5 |  | 0
530-74 | BEDDING STONE (#57 STONE), 12" THICK |  | TN | 32.9 |  | 0
536-1-1 | GUARDRAIL - ROADWAY, GENERAL TL-3 |  | LF | 1759 |  | 0
536-85-20 | GUARDRAIL END TREATMENT - TRAILING ANCHORAGE |  | EA | 1 |  | 0
536-85-24 | GUARDRAIL END TREATMENT - PARALLEL APPROACH TERMINAL |  | EA | 1 |  | 0
550-10-229 | FENCING, TYPE B, 6', SPECIAL |  | LF | 124 |  | 0
550-10-249 | FENCING, TYPE B, 8', SPECIAL |  | LF | 199 |  | 0
550-10-251 | FENCING, TYPE B, 10', WITH BARBED WIRE |  | LF | 1932 |  | 0
550-60-923 | FENCE GATE, SPECIAL TYPE, DOUBLE, 16' OPENING |  | EA | 2 |  | 0
550-60-935 | FENCE GATE, SPECIAL TYPE, SLIDING/CANTILEVER, 20.1'-24' OPENING |  | EA | 1 |  | 0
570-1-2 | PERFORMANCE TURF, SOD |  | SY | 51255 |  | 0
570-1-2A | PERFORMANCE TURF, SOD (ST. AUGUSTINE 'FLORATAM') |  | SY | 8130 |  | 0
580-1 | LANDSCAPE COMPLETE - LITTORAL PLANTING |  | LS | 1 |  | 0
SUBTOTAL: SECTION 0001 ROADWAY | [5 empty] | 0
SECTION 0002 SIGNALIZATION
Item | Description |  | Unit of Measure | Estimated Quantity | Unit Price | Extended Amount
630-2-11 | CONDUIT, FURNISH & INSTALL, OPEN TRENCH |  | LF | 104 |  | 0
630-2-12 | CONDUIT, FURNISH & INSTALL, DIRECTIONAL BORE |  | LF | 233 |  | 0
632-7-1 | SIGNAL CABLE, NEW OR RECONSTRUCTED INTERSECTION, FURNISH & INSTALL |  | PI | 1 |  | 0
633-1-121 | FIBER OPTIC CABLE, F&I, UNDERGROUND, 2-12 FIBERS |  | LF | 70 |  | 0
633-2-31 | FIBER OPTIC CONNECTION, SPLICE |  | EA | 12 |  | 0
633-2-32 | FIBER OPTIC CONNECTION, TERMINATION |  | EA | 12 |  | 0
633-3-11 | FIBER OPTIC CONNECTION HARDWARE, F&I, SPLICE ENCLOSURE |  | EA | 1 |  | 0
633-3-12 | FIBER OPTIC CONNECTION HARDWARE, F&I, SPLICE TRAY |  | EA | 1 |  | 0
633-3-13 | FIBER OPTIC CONNECTION HARDWARE, F&I, PRETERMINATED CONNECTOR ASSEMBLY |  | EA | 1 |  | 0
633-3-14 | FIBER OPTIC CONNECTION HARDWARE, F&I, BUFFER TUBE FAN OUT KIT |  | EA | 1 |  | 0
633-3-15 | FIBER OPTIC CONNECTION HARDWARE, F&I, PRETERMINATED PATCH PANEL |  | EA | 1 |  | 0
633-3-17 | FIBER OPTIC CONNECTION HARDWARE, F&I, CONNECTOR PANEL |  | EA | 1 |  | 0
635-2-11A | PULL & SPLICE BOX, F&I, 17" X 30" COVER SIZE |  | EA | 16 |  | 0
635-2-13 | PULL & SPLICE BOX, F&I, 30" X 60" COVER SIZE |  | EA | 1 |  | 0
639-1-122 | ELECTRICAL POWER SERVICE, F&I, UNDERGROUND, METER PURCHASED BY CONTRACTOR FROM POWER COMPANY |  | AS | 1 |  | 0
639-2-1 | SIGNAL, ELECTRICAL SERVICE WIRE, F&I |  | LF | 50 |  | 0
639-3-11 | ELECTRICAL SERVICE DISCONNECT, F&I, POLE |  | EA | 1 |  | 0
641-2-11 | PRESTRESSED CONC. POLE, F&I, TYPE P-II PEDESTAL |  | EA | 2 |  | 0
646-1-11 | ALUMINUM SIGNALS POLE, F&I, PEDESTAL |  | EA | 4 |  | 0
649-21-3 | STEEL MAST ARM ASSEMBLY, FURNISH AND INSTALL, 40' SINGLE ARM |  | EA | 1 |  | 0
649-21-9 | STEEL MAST ARM ASSEMBLY, FURNISH AND INSTALL, DOUBLE ARM 50'-50' |  | EA | 1 |  | 0
650-1-14 | VEHICULAR TRAFFIC SIGNAL, FURNISH & INSTALL - ALUMINUM, 3 SECTION, 1 WAY |  | AS | 6 |  | 0
650-1-16 | VEHICULAR TRAFFIC SIGNAL, FURNISH & INSTALL - ALUMINUM, 4 SECTION, 1 WAY |  | AS | 1 |  | 0
653-1-11 | PEDESTRIAN SIGNAL, FURNISH & INSTALL LED COUNT DOWN, 1 WAY |  | AS | 4 |  | 0
660-4-11 | VEHICLE DETECTION SYSTEM - VIDEO, FURNISH & INSTALL, CABINET EQUIPMENT |  | EA | 1 |  | 0
660-4-12 | VEHICLE DETECTION SYSTEM - VIDEO, FURNISH & INSTALL, ABOVE GROUND EQUIPMENT |  | EA | 3 |  | 0
660-6-121 | VEHICLE DETECTION SYSTEM - AVI, BLUETOOTH, FURNISH & INSTALL, CABINET EQUIPMENT |  | EA | 1 |  | 0
660-6-122 | VEHICLE DETECTION SYSTEM - AVI, BLUETOOTH, FURNISH & INSTALL, ABOVE GROUND EQUIPMENT |  | EA | 1 |  | 0
665-1-12 | PEDESTRIAN DETECTOR, F&I, ACCESSIBLE |  | EA | 4 |  | 0
670-5-110 | TRAFFIC CONTROLLER ASSEMBLY, F&I, NEMA |  | AS | 1 |  | 0
682-1-133 | ITS CCTV CAMERA, F&I, DOME ENCLOSURE - NON-PRESSURIZED, IP, HIGH DEFINITION |  | EA | 1 |  | 0
684-1-1 | MANAGED FIELD ETHERNET SWITCH, LAYER 2, FURNISH & INSTALL |  | EA | 1 |  | 0
685-1-13 | UNINTERRUPTIBLE POWER SUPPLY, FURNISH & INSTALL, LINE INTERACTIVE WITH CABINET |  | EA | 1 |  | 0
700-3-201 | SIGN PANEL, FURNISH & INSTALL OVERHEAD MOUNT, UP TO 12 SF |  | EA | 3 |  | 0
700-3-202 | SIGN PANEL, FURNISH & INSTALL OVERHEAD MOUNT, 12-20 SF |  | EA | 3 |  | 0
715-5-32 | LUMINAIRE & BRACKET ARM |  | EA | 2 |  | 0
SUBTOTAL: SECTION 0002 SIGNALIZATION | [5 empty] | 0
SECTION 0003 LIGHTING
Item | Description |  | Unit of Measure | Estimated Quantity | Unit Price | Extended Amount
630-2-11 | CONDUIT, FURNISH & INSTALL, OPEN TRENCH |  | LF | 14313 |  | 0
630-2-11A | CONDUIT, FURNISH & INSTALL, INTERCONNECT |  | LF | 8021 |  | 0
630-2-11U | CONDUIT, FURNISH & INSTALL, INTERCONNECT |  | LF | 6917 |  | 0
630-2-12 | CONDUIT, FURNISH & INSTALL, DIRECTIONAL BORE |  | LF | 738 |  | 0
630-2-12A | CONDUIT, FURNISH & INSTALL, INTERCONNECT, DIRECTIONAL BORE |  | LF | 60 |  | 0
633-1-123 | FIBER OPTIC CABLE, F&I, UNDERGROUND, 49-96 FIBERS |  | LF | 11747 |  | 0
633-1-123U | FIBER OPTIC CABLE, F&I, UNDERGROUND, 49-96 FIBERS |  | LF | 9767 |  | 0
633-2-31 | FIBER OPTIC CONNECTION, INSTALL, SPLICE |  | EA | 96 |  | 0
633-8-1 | MULTI-CONDUCTOR COMMUNICATION CABLE, FURNISH & INSTALL |  | LF | 1400 |  | 0
635-2-11A | PULL & SPLICE BOX, F&I, 17" X 30" COVER SIZE |  | EA | 29 |  | 0
635-2-12 | PULL & SPLICE BOX, F&I, 24" X 36" COVER SIZE |  | EA | 20 |  | 0
635-2-12U | PULL & SPLICE BOX, F&I, 24" X 36" COVER SIZE |  | EA | 18 |  | 0
639-1-122 | ELECTRICAL POWER SERVICE, F&I, UNDERGROUND, METER PURCHASED BY CONTRACTOR |  | AS | 2 |  | 0
639-2-1 | ELECTRICAL SERVICE WIRE, FURNISH & INSTALL |  | LF | 53 |  | 0
641-2-12 | PRESTRESSED CONCRETE POLE, F&I, TYPE P-II SERVICE POLE |  | EA | 6 |  | 0
660-3-12 | VEHICLE DETECTION SYSTEM - MICROWAVE, FURNISH & INSTALL, ABOVE GROUND EQUIPMENT |  | EA | 2 |  | 0
676-2-111 | ITS CABINET, FURNISH & INSTALL, POLE MOUNT, 336, 24" W X 36" H X 20" D |  | EA | 2 |  | 0
715-1-11 | LIGHTING CONDUCTORS, F&I, INSULATED, NO. 10 OR < (#10 AWG STRANDED TRACER/LOCATE WIRE) INTERCONNECT |  | LF | 6917 |  | 0
715-1-12 | LIGHTING CONDUCTORS, F&I, INSULATED, NO. 8-6 (NO. 6) |  | LF | 46210 |  | 0
715-1-40 | LIGHTING CONDUCTORS, RELOCATE EXIST. CONDUCTOR |  | LF | 100 |  | 0
715-4-14 | LIGHT POLE COMPLETE, FURNISH & INSTALL STANDARD POLE STANDARD FOUNDATION, 45' MOUNTING HEIGHT |  | EA | 16 |  | 0
715-4-24P | LIGHT POLE COMPLETE, FURNISH & INSTALL STANDARD POLE SPECIAL FOUNDATION, 45' MOUNTING HEIGHT |  | EA | 9 |  | 0
715-4-24S | LIGHT POLE COMPLETE, FURNISH & INSTALL STANDARD POLE SPECIAL FOUNDATION, 45' MOUNTING HEIGHT |  | EA | 49 |  | 0
715-4-60 | LIGHT POLE COMPLETE, RELOCATE |  | EA | 2 |  | 0
715-4-817 | LIGHT POLE COMPLETE, FUNISH & INSTALL UTILITY CONFLICT POLE, SPECIAL FOUNDATION, 35' HEIGHT |  | EA | 1 |  | 0
715-7-12 | LOAD CENTER, F&I, PRIMARY VOLTAGE |  | EA | 2 |  | 0
715-500-1 | POLE CABLE DISTRIBUTION SYSTEM, CONVENTIONAL |  | EA | 75 |  | 0
SUBTOTAL: SECTION 0003 LIGHTING | [5 empty] | 0
SECTION 0004 SIGNING AND PAVEMENT MARKING
Item | Description |  | Unit of Measure | Estimated Quantity | Unit Price | Extended Amount
700-1-11 | SINGLE POST SIGN, F&I GROUND MOUNT, UP TO 12 SF |  | AS | 28 |  | 0
700-1-12 | SINGLE POST SIGN, F&I GROUND MOUNT, 12-20 SF |  | AS | 3 |  | 0
700-1-13 | SINGLE POST SIGN, F&I GROUND MOUNT, 21-30 SF |  | AS | 2 |  | 0
700-1-50 | SINGLE POST SIGN, RELOCATE |  | AS | 3 |  | 0
700-1-60 | SINGLE POST SIGN, REMOVE |  | AS | 23 |  | 0
700-2-12 | MULTI POST SIGN, F&I GROUND MOUNT, 12-20 SF |  | AS | 3 |  | 0
700-2-50 | MULTI POST SIGN, RELOCATE |  | AS | 1 |  | 0
700-3-601 | SIGN PANEL, REMOVE, UP TO 12 SF |  | EA | 1 |  | 0
700-11-600 | ELECTRONIC DISPLAY SIGN, REMOVE, GROUND MOUNT |  | AS | 1 |  | 0
705-10-1 | OBJECT MARKER, TYPE I |  | EA | 6 |  | 0
710-11-290 | PAINT, STD., YELLOW, ISLAND NOSE |  | SF | 109 |  | 0
710-90 | PAINTED PAVEMENT MARKINGS, FINAL SURFACE |  | LS | 1 |  | 0
711-11-123 | THERMOPLASTIC, STD., WHITE, SOLID, 12", FOR CROSSWALKS |  | LF | 998 |  | 0
711-11-124 | THERMOPLASTIC, STD., WHITE, SOLID, 18", FOR DIAGONALS AND CHEVRONS |  | LF | 913 |  | 0
711-11-125 | THERMOPLASTIC, STD., WHITE, SOLID, 24", FOR STOP LINE AND CROSSWALK |  | LF | 200 |  | 0
711-11-141 | THERMOPLASTIC, STD., WHITE GUIDE LINE, 6" (2/4) |  | GM | 0.118 |  | 0
711-11-160 | THERMOPLASTIC, STD., MESSAGE OR SYMBOL |  | EA | 15 |  | 0
711-11-170 | THERMOPLASTIC, STD., ARROWS |  | EA | 53 |  | 0
711-11-224 | THERMOPLASTIC, STD., YELLOW, SOLID, 18", FOR DIAGONALS AND CHEVRONS |  | LF | 192 |  | 0
711-11-241 | THERMOPLASTIC, STD., YELLOW GUIDE LINE, 6" (2/4), EXTENSION LINE, 6" (6/10) |  | GM | 0.151 |  | 0
711-14-125 | THERMOPLASTIC, PREFORMED, WHITE, SOLID, 24", FOR CROSSWALK |  | LF | 292 |  | 0
711-14-160 | THERMOPLASTIC, PREFORMED, MESSAGE OR SYMBOL (BIKE) |  | EA | 21 |  | 0
711-14-170 | THERMOPLASTIC, PREFORMED, ARROWS (BIKE THRU) |  | EA | 21 |  | 0
711-16-101 | THERMOPLASTIC, STD., OTHER SURFACES, WHITE, SOLID, 6" |  | GM | 4.125 |  | 0
711-16-102 | THERMOPLASTIC, STD., OTHER SURFACES, WHITE, SOLID, 8" |  | GM | 0.305 |  | 0
711-16-131 | THERMOPLASTIC, STD., OTHER SURFACES, WHITE, SKIP, 6" (10/30) |  | GM | 2.73 |  | 0
711-16-201 | THERMOPLASTIC, STD., OTHER SURFACES, YELLOW, SOLID, 6" |  | GM | 3.679 |  | 0
SUBTOTAL: SECTION 0004 SIGNING AND PAVEMENT MARKING | [5 empty] | 0
SECTION 0005 LANDSCAPE AND IRRIGATION
Item | Symbol | Description | Unit of Measure | Estimated Quantity | Unit Price | Extended Amount
A |  | LANDSCAPE INSTALLATION
TREES
A-1 | LX | LAGERSTROEMIA X 'MUSKOGEE' - MUSKOGEE CRAPE MYRTLE, 10' HT, 4' SPRD., MULTI-TRUNK | EA | 6 |  | 0
A-2 | LX2 | LAGERSTROEMIA X 'NATCHEZ' - NATCHEZ CRAPE MYRTLE, 10' HT, 4' SPRD., MULTI-TRUNK | EA | 8 |  | 0
A-3 | PE | PINUS ELLIOTI 'DENSA' - SOUTH FLORIDA SLASH PINE (11', 13', 14', 15' & 16' HTS, 2'-3' SPR, 2" CAL.) | EA | 72 |  | 0
A-4 | QV | QUERCUS VIRGINIANA 'CATHEDRAL' - CATHEDRAL LIVE OAK (12'-14' HT, 5.5' SPR, 3.5" CAL, 36" MIN. B&B DIA.) | EA | 17 |  | 0
PALMS
A-5 | SP | SABAL PALMETTO - SABAL PALM (14', 16', & 18' CT., BOOTED) | EA | 66 |  | 0
A-6 | VM | VEITCHIA ARECINA - MONTGOMERY PALM (12' CT, 5 FROND MIN.) | EA | 18 |  | 0
SHRUBS
A-7 | HP | HAMELIA PATENS - FIREBUSH (24" HT, 36" O.C.) | EA | 226 |  | 0
A-8 | TD | TRIPSACUM DACTYLOIDES - FAKAHATCHEE GRASS (24" HT., AS SHOWN O.C.) | EA | 205 |  | 0
GROUNDCOVER
A-9 | AG | ARACHIS GLABRATA- PERENNIAL PEANUT (1 GAL.) | EA | 146 |  | 0
A-10 | BA | PASPALUM NOTATUM - BAHIA SOD | SY | 2182 |  | 0
MULCH
A-11 | MU | MINI PINE BARK NUGGETS (3" DEPTH) | CY | 265 |  | 0
B |  | IRRIGATION INSTALLATION
B-1 | WP | SUBMERSIBLE PUMP AS NOTED IN TECHNICAL SPECIFICATIONS | LS | 1 |  | 0
B-2 | ES | ELECTRICAL SERVICE | LS | 1 |  | 0
B-3 | EC | FURNISH MATERIALS AND MAKE ALL NECESSARY CONNECTIONS FOR CONTROLLER INSTALLATION AND OPERATION. GENERAL CONTRACTOR TO PROVIDE DEDICATED ELECTRICAL POWER IN CONDUIT TO CONTROLLER AND PUMP LOCATION (IF APPLICABLE), AND PROVIDE DIRECT WIRING BY ELECTRICAL CONTRACTOR | LS | 1 |  | 0
CONTROLLER AND WIRING
B-4 | C | HUNTER ACC-99D CONTROLLER WITH ACC-COM-LTE COMMUNICATION DEVICE (INCL. RAIN SENSOR SHUTOFF) | EA | 1 |  | 0
B-5 | SS | ICD-100 HUNTER DECODER WITH SURGE SUPPRESION AND GROUND WIRE | EA | 19 |  | 0
B-6 | TW | FURNISH AND INSTALL 14-1 RED WIRE TO BE BURIED WITH LATERAL LINE FROM LAST VALVE ON WIRE PATH TO LAST TREE/PALM FOR TRACKING | LF | 550 |  | 0
B-7 | W | FURNISH AND INSTALL PAIGE ELECTRIC AWG 12-2 BLACK COMMUNICATION WIRE | LF | 6950 |  | 0
B-8 | DS | IRRIGATION PUMP STATION WATER SOURCE FILTER DISCHARGE | EA | 1 |  | 0
GROUNDING
B-9 | GR | FURNISH AND INSTALL COPPER CLAD GROUND ROD (10' LENGTH) WITH CADWELD CONNECTION OF #10 BARE COPPER WIRE TO THE SV (INCLUDE CARSON SPEC GRADE VALVE BOX ROUND 10" PURPLE BOX/PURPLE LID OVERLAPPING ICV WITH GRAVEL, BRICKS, FABRIC, ETC.) | EA | 19 |  | 0
B-10 | GP | FURNISH AND INSTALL 4" X 96" GROUND PLATE AT ORIGIN AND EACH END OF THE 2 WIRE PATH | EA | 3 |  | 0
VALVES
B-11 | MV | FURNISH AND INSTALL RAINBIRD 300 BPES, 3" BRASS MASTER VALVE, WITH ANGLE CONFIGURATION | EA | 1 |  | 0
B-12 | GV | FURNISH AND INSTALL 3" MUELLER FLANGED ISO GATE VALVE, A-2360 SERIES RESILIENT WEDGE (INCLUDE A CARSON SPEC GRADE VALVE BOX RECTANGLE 12" X 20" X 12" H PURPLE BOX/PURPLE LID OVERLAPPING RWDNDES WITH GRAVEL, BRICKS, FABRIC, ETC.) | EA | 4 |  | 0
B-13 | SV | FURNISH AND INSTALL RAINBIRD 200-PESBR FOR RECLAIMED WATER APPLICATION WITH SCRUBBER MECHANISM TECHNOLOGY, AND PURPLE FLOW CONTROL HANDLE; INCLUDE A 2" RED AND WHITE ISO MANUAL GATE VALVE PER VALVE DETAIL (INCLUDE A CARSON SPEC GRADE VALVE BOX RECTANGLE 12" X 20" X 12" H PURPLE BOX/PURPLE LID OVERLAPPING RWDNDES WITH GRAVEL, BRICKS, FABRIC, ETC.) | EA | 1 |  | 0
B-14 | SV | FURNISH AND INSTALL RAINBIRD 150-PESBR FOR RECLAIMED WATER APPLICATIONS WITH SCRUBBER MECHANISM TECHNOLOGY, AND PURPLE FLOW CONTROL HANDLE; INCLUDE A 1.5" RED AND WHITE ISO MANUAL GATE VALVE PER VALVE DETAIL (INCLUDE A CARSON SPEC GRADE VALVE BOX RECTANGLE 12" X 20" X 12" H PURPLE BOX/PURPLE LID OVERLAPPING RWDNDES WITH GRAVEL, BRICKS, FABRIC, ETC.) | EA | 15 |  | 0
B-15 | SV | FURNISH AND INSTALL RAINBIRD 100-PESBR FOR RECLAIMED WATER APPLICATIONS WITH SCRUBBER MECHANISM TECHNOLOGY, AND PURPLE FLOW CONTROL HANDLE; INCLUDE A 1" RED AND WHITE ISO MANUAL GATE VALVE PER VALVE DETAIL (INCLUDE A CARSON SPEC GRADE VALVE BOX RECTANGLE 12" X 20" X 12" H PURPLE BOX/PURPLE LID OVERLAPPING RWDNDES WITH GRAVEL, BRICKS, FABRIC, ETC.) | EA | 4 |  | 0
B-16 | PB | FURNISH AND INSTALL SPLICE / PULL / JUNCTION BOXES (INCLUDE A CARSON SPEC GRADE VALVE BOX RECTANGLE 12" X 20" X 12" H PURPLE BOX/PURPLE LID OVERLAPPING RWDNDES WITH GRAVEL, BRICKS, FABRIC, PULL STRING, ETC.) | EA | 7 |  | 0
SPRAYHEADS AND BUBBLERS
B-17 | SH | FURNISH AND INSTALL RAINBIRD 1812-PRS-NP 12 SERIES MPR SHRUB SPRAY 12.0" POP-UP SPRINKLER WITH CO-MOLDED WIPER SEAL. SIDE AND BOTTOM INLET. 1/2" NPT FEMALE THREADED INLET. WITH PRESSURE REGULATING DEVICE AND NON-POTABLE PURPLE CAP. (RADIUS PER PLANS) (INCLUDES FITTINGS, FUNNY PIPE, NON POTABLE PURPLE COVER, ETC.) | EA | 118 |  | 0
B-18 | FB | FURNISH AND INSTALL RAIN BIRD 1800-1400 FLOOD 1404 FIXED FLOW RATE (0.25-2.0 GPM), FULL CIRCLE BUBBLER, 1/2" FIPT (SIZED PER TREE/PALM) (INCLUDES FITTINGS, FUNNY PIPE, PURPLE CAP, ETC.) | EA | 307 |  | 0
BLOWOFF
B-19 | BOA | FURNISH & INSTALL: MAIN AND SUBMAIN FLUSH / BLOW OFF ASSEMBLIES PER PLAN NOTES & DETAILS. SIZES TO MATCH MAIN SIZE. (INCLUDE A CARSON SPEC GRADE VALVE BOX RECTANGLE 12" X 20" X 12" H PURPLE BOX/PURPLE LID OVERLAPPING RWDNDES WITH GRAVEL, BRICKS, FABRIC, ETC.) | EA | 2 |  | 0
MAINLINE PIPING
B-20 | ML | FURNISH AND INSTALL 3" PVC CLASS 200 SDR 21 BELL END GASKET TYPE IRRIGATION MAINLINE WITH HARCO DIP FITTINGS & THRUST BLOCKING, BY TRENCHING, SEE NOTES, SPECIFICATIONS AND DETAILS FOR INSTALLATION REQUIREMENTS AND REQUIRED COMPONENTS. (PANTONE PURPLE COLOR) | LF | 6664 |  | 0
LATERAL PIPING
B-21 | LL | FURNISH AND INSTALL IRRIGATION LATERAL LINE: 1" CLASS 200 SDR 21 (PANTONE PURPLE) | LF | 4692 |  | 0
B-22 | LL | FURNISH AND INSTALL IRRIGATION LATERAL LINE: 1.25" CLASS 200 SDR 21 (PANTONE PURPLE) | LF | 1650 |  | 0
B-23 | LL | FURNISH AND INSTALL IRRIGATION LATERAL LINE: 1.5" CLASS 200 SDR 21 (PANTONE PURPLE) | LF | 299 |  | 0
B-24 | LL | FURNISH AND INSTALL IRRIGATION LATERAL LINE: 2" CLASS 200 SDR 21 (PANTONE PURPLE) | LF | 115 |  | 0
CONDUIT
B-25 | CO | FURNISH AND INSTALL 2" ELECTRICAL CONDUIT WITH 90° SWEEPS TO SOLENOID VALVES | LF | 6546 |  | 0
DIRECTIONAL BORE
B-26 | DB1 | FURNISH AND INSTALL DIRECTIONAL BORE (LESS THAN 6") 3" HDPE PE3408 DR11 UNDER PAVEMENT TO CONNECT TO MAINLINE (AS IRRIGATION CONVEYANCE MECHANISM) | LF | 473 |  | 0
B-27 | DB2 | FURNISH AND INSTALL DIRECTIONAL BORE (LESS THAN 6") 2" HDPE PE3408 DR11 TO PROVIDE FOR TWO WIRE PATH UNDER THE PAVEMENT | LF | 473 |  | 0
B-28 | HA | FURNISH AND INSTALL HARCO HDPE TO PVC MECHANICAL JOINT COUPLING WITH TRANSITIONAL GASKETS OR INTERCONNECTING FITTINGS FOR CONNECTING PE3408 DR11 HDPE TO CL200 SDR 21 PVC MAINLINE | EA | 4 |  | 0
C |  | SITE WORK
C-1 | PSP | PLANTING SOIL PREP. (MEDIANS ONLY- INCLUDES HERBICIDE, SOD REMOVAL, FERTILIZER, TILLING, FINAL GRADING, SOIL TESTING, AND ANY NECESSARY SOIL AMENDMENTS) | SY | 3157 |  | 0
C-2 | RB | ROOT BARRIER (24" DEPTH) | LF | 2028 |  | 0
C-3 | MA | 1 YR. IRRIGATION AND LANDSCAPE MAINTENANCE (TO BE CONCURENT WITH THE WARRANTY PERIOD) | MONTH | 12 |  | 0
SUBTOTAL: SECTION 0005 LANDSCAPE AND IRRIGATION | [5 empty] | 0
SECTION 0006 UTILITIES*
Item | Description |  | Unit of Measure | Estimated Quantity | Unit Price | Extended Amount
1 | RECORD DRAWINGS |  | LS | 1 |  | 0
2 | MOBILIZATION |  | LS | 1 |  | 0
3 | MAINTENANCE OF TRAFFIC |  | LS | 1 |  | 0
WATER SYSTEM
4 | FURNISH AND INSTALL WATER MAIN PIPELINES*
a | 8" WM - PVC DR18 |  | LF | 15 |  | 0
b | 10" WM - PVC DR18 |  | LF | 128 |  | 0
c | 12" WM - PVC DR18 |  | LF | 8 |  | 0
d | 16" WM - PVC DR18 |  | LF | 63 |  | 0
e | 24" WM - DIP |  | LF | 7588 |  | 0
g | 30" WM - HDPE DR11 |  | LF | 127 |  | 0
5 | FURNISH AND INSTALL 30" HDPE DR 11 WATER MAIN VIA HORIZONTAL DIRECTIONAL DRILL* |  | LS | 1 |  | 0
6 | FURNISH AND INSTALL GATE VALVES*
a | 8" GATE VALVE |  | EA | 1 |  | 0
b | 10" GATE VALVE |  | EA | 2 |  | 0
c | 12" GATE VALVE |  | EA | 1 |  | 0
d | 16" GATE VALVE |  | EA | 1 |  | 0
e | 24" GATE VALVE |  | EA | 8 |  | 0
7 | 16" TAPPING SLEEVE AND VALVE* |  | EA | 1 |  | 0
8 | FURNISH AND INSTALL WATER MAIN INTERCONNECTIONS*
a | CONNECT TO EXISTING 8" WATER MAIN |  | EA | 1 |  | 0
b | CONNECT TO EXISTING 10" WATER MAIN |  | EA | 2 |  | 0
c | CONNECT TO EXISTING 24" WATER MAIN |  | EA | 1 |  | 0
9 | FURNISH AND INSTALL FIRE HYDRANT ASSEMBLY* |  | EA | 2 |  | 0
10 | FURNISH AND INSTALL AIR RELEASE VALVE* |  | EA | 2 |  | 0
11 | FURNISH AND INSTALL 16" LINE STOP (MATERIALS AND LABOR) |  | EA | 1 |  | 0
12 | ABANDON AND REMOVE EXISTING WATER MAIN (MATERIALS AND LABOR)
a | 8" WM |  | LF | 46 |  | 0
b | 10" WM |  | LF | 115 |  | 0
c | 16" WM |  | LF | 777 |  | 0
d | 24" WM |  | LF | 7160 |  | 0
RAW WATER SYSTEM
13 | RAW WATER MAINS*
a | 6" PVC DR18 |  | LF | 180 |  | 0
b | 20" DIP |  | LF | 240 |  | 0
c | 24" DIP |  | LF | 2060 |  | 0
d | 30" RW HDPE DR 11 |  | LF | 124 |  | 0
14 | FURNISH AND INSTALL GATE VALVES*
a | 6" RW GATE VALVE |  | EA | 4 |  | 0
b | 24" RW GATE VALVE |  | EA | 4 |  | 0
15 | FURNISH AND INSTALL TAPPING SLEEVE AND VALVE*
a | 20" TAPPING SLEEVE AND VALVE |  | EA | 1 |  | 0
b | 24" TAPPING SLEEVE AND VALVE |  | EA | 3 |  | 0
16 | FURNISH AND INSTALL LINE STOPS (MATERIALS AND LABOR)
a | 20" LINE STOP |  | EA | 1 |  | 0
b | 24" LINE STOP |  | EA | 2 |  | 0
17 | FURNISH AND INSTALL WATER MAIN INTERCONNECTIONS*
a | CONNECT TO EXISTING 20" RAW WATER MAIN |  | EA | 1 |  | 0
b | CONNECT TO EXISTING 24" RAW WATER MAIN |  | EA | 9 |  | 0
18 | CONSTRUCTION WITHIN EXISTING WELL SITES (MATERIALS AND LABOR)
a | WELL SITE 32 |  | LS | 1 |  | 0
b | WELL SITE 33 |  | LS | 1 |  | 0
19 | FURNISH AND INSTALL AIR RELEASE VALVE* |  | EA | 2 |  | 0
20 | ABANDON AND REMOVE EXISTING RAW WATER MAIN (MATERIALS AND LABOR)
a | 6" RW |  | LF | 66 |  | 0
b | 20" RW |  | LF | 130 |  | 0
c | 24" RW |  | LF | 2235 |  | 0
FORCE MAIN SYSTEM
21 | FURNISH AND INSTALL FORCE MAIN PIPELINES*
a | 4" FM - PVC DR18 |  | LF | 295 |  | 0
b | 8" FM - PVC DR18 |  | LF | 10 |  | 0
c | 10" FM - PVC DR18 |  | LF | 26 |  | 0
d | 12" FM - PVC DR18 |  | LF | 5 |  | 0
e | 16" FM - PVC DR18 |  | LF | 240 |  | 0
f | 16" FM - PVC DR25 |  | LF | 640 |  | 0
g | 24" FM - PVC DR18 |  | LF | 330 |  | 0
h | 24" FM - HDPE DR11 |  | LF | 115 |  | 0
i | 30" FM - CASING |  | LF | 211 |  | 0
22 | FURNISH AND INSTALL 18" HDPE DR11 HORIZONTAL DIRECTIONAL DRILLS*
a | HDD #1 (STA 799+62 TO STA 812+78) |  | LS | 1 |  | 0
b | HDD #2 (STA 812+53 TO STA 825+68) |  | LS | 1 |  | 0
c | HDD #3 (STA 825+41 TO STA 836+55) |  | LS | 1 |  | 0
d | HDD #4 (STA 836+30 TO STA 846+79) |  | LS | 1 |  | 0
e | HDD #5 (STA 846+51 TO STA 866+97) |  | LS | 1 |  | 0
23 | FURNISH AND INSTALL PLUG VALVES*
a | 4" FM - PLUG VALVE |  | EA | 1 |  | 0
b | 10" FM - PLUG VALVE |  | EA | 1 |  | 0
c | 16" FM - PLUG VALVE |  | EA | 7 |  | 0
d | 18" FM - PLUG VALVE |  | EA | 1 |  | 0
e | 24" FM - PLUG VALVE |  | EA | 2 |  | 0
24 | FURNISH AND INSTALL AIR RELEASE VALVES* |  | EA | 6 |  | 0
25 | FURNISH AND INSTALL FM PRESSURE CLEANOUT* |  | EA | 1 |  | 0
26 | FURNISH AND INSTALL FORCE MAIN INTERCONNECTIONS*
a | CONNECT TO EXISTING 4" FORCE MAIN |  | EA | 1 |  | 0
b | CONNECT TO EXISTING 8" FORCE MAIN |  | EA | 1 |  | 0
c | CONNECT TO EXISTING 10" FORCE MAIN |  | EA | 1 |  | 0
d | CONNECT TO EXISTING 12" FORCE MAIN |  | EA | 1 |  | 0
27 | ABANDON AND REMOVE EXISTING FORCE MAIN (MATERIALS AND LABOR)
a | 8" FM |  | LF | 196 |  | 0
b | 10" FM |  | LF | 7313 |  | 0
c | 12" FM |  | LF | 123 |  | 0
FIBER OPTICS SYSTEM (MATERIALS AND LABOR)
28 | FURNISH AND INSTALL PROPOSED FIBER OPTIC CABLE* |  | LF | 7400 |  | 0
29 | FURNISH AND INSTALL FIBER OPTIC CABLE CONNECTIONS*
a | CONNECT TO SPLICE BOX |  | EA | 2 |  | 0
b | CONNECT TO WELLS |  | EA | 2 |  | 0
30 | ABANDON AND REMOVE FIBER OPTIC PIPE (MATERIALS AND LABOR)
a | 2" FIBER OPTIC PIPE |  | LF | 96 |  | 0
b | 4" FIBER OPTIC PIPE |  | LF | 7220 |  | 0
SUBTOTAL: SECTION 0006 UTILITIES | [5 empty] | 0
BID SUMMARY
PROJECT TOTAL |  |  |  |  | 0
**Quantities are not guaranteed. Final payment will be based on actual quantities.
PROJECT TOTAL:
(Use Words to Write Total)
*The Contractor shall be required to pick up materials purchased by the County and deliver them to the construction site. The County-purchased materials are located at the Corkscrew Water Treatment Plant, 16101 Alico Road, Fort Myers, FL 33913.