## BID-PROPOSAL FORM
PROCUREMENT MANAGEMENT DEPARTMENT BID/PROPOSAL FORM
ADDENDUM #3 REVISED
COMPANY NAME:
SOLICITATION: | B250106LND - Orange River Blvd. Sidewalk and Watermain Replacement
Having carefully examined the Contract Documents, Contractor/Vendor proposes to furnish the following which meeting these specifications.
PRICING
˗ Pricing shall be inclusive of all labor, equipment, supplies, overhead, profit, material, and any other incidental costs required to perform and complete all work as specified in the Contract Documents. all Unit Prices will be bid at the nearest whole penny.
˗ The Excel document contains formulas for convenience, however it is the Contractor’s/Vendor's responsibility to verify all pricing and calculations are CORRECT. Lee County is not responsible for errors in formulas or calculations contained within Excel document(s).
˗ In the event there is a discrepancy between a subtotal or total amount and the unit prices and extended amounts, the unit prices will prevail and the corrected extension(s) and total(s) will be considered the price.
˗ The County will only accept bids submitted on bid forms provided by the County. Bids submitted on other forms, other than those provided by the County, will be deemed non-responsive and ineligible for award.
PLEASE ENSURE you have provided a printed copy of the Bid Schedule with your hard copy submission packages and provided the excel version with your digital submission package.
B250106LND - Orange River Blvd. Sidewalk and Watermain Replacement
GENERAL ITEMS
Item | Description | Unit of Measure | Estimated Quantity | Unit Price | Extended Amount
101-1 | Mobilization | LS | 1 |  | 0
102-1 | Maintenance of Traffic | LS | 1 |  | 0
100-1-X | Pre-Construction Video | LS | 1 |  | 0
SUBTOTAL: GENERAL ITEMS |  |  |  |  | 0
ROADWAY
Item | Description | Unit of Measure | Estimated Quantity | Unit Price | Extended Amount
104-10-3 | Sediment Barrier | LF | 3907 |  | 0
104-18 | Inlet Protection System | EA | 42 |  | 0
107-1-1 | Litter Removal | AC | 24.4 |  | 0
107-2-4 | Mowing (Small Machines) | AC | 6.1 |  | 0
110-1-1 | Clearing & Grubbing (3.05 ac.) | LS | 1 |  | 0
110-4-10 | Removal of Existing Concrete | SY | 93 |  | 0
110-7-1 | Mailbox, F&I | EA | 5 |  | 0
120-1 | Excavation, Regular | CY | 939 |  | 0
120-6 | Embankment | CY | 2250.9 |  | 0
160-4 | Type B Stabilization (LBR 40) | SY | 2441 |  | 0
285-706 | Optional Base, Base Group 06 | SY | 1812 |  | 0
327-70-6 | Milling Existing Asphalt Pavement (1.5" Avg. Depth) | SY | 2758 |  | 0
334-1-13 | Superpave Asphaltic Concrete, Traffic C, PG67-22 | TN | 379.2 |  | 0
425-1-331 | Inlet, Curb, Type P-3, <10' | EA | 2 |  | 0
425-1-521 | Inlet, Ditch Bottom, Type C, <10' | EA | 5 |  | 0
425-1-531 | Inlet, Ditch Bottom, Type C, Modify <10' | EA | 1 |  | 0
425-1-541 | Inlet, Ditch Bottom, Type D, <10' | EA | 2 |  | 0
425-1-910 | Inlet, Closed Flume, Type I | EA | 2 |  | 0
425-2-41 | Manhole, P-7, <10' | EA | 7 |  | 0
425-2-71 | Manhole, J-7, <10' | EA | 2 |  | 0
425-X-1 | Inlet, ADS Inline Drain | EA | 8 |  | 0
425-X-2 | Inlet, ADS Drain Basin | EA | 6 |  | 0
425-4 | Modify Existing Drainage Structure, Inlet | EA | 1 |  | 0
425-5 | Modify Existing Drainage Structure, Manhole | EA | 1 |  | 0
430-175-118A | Pipe Culvert (Optional Material) (RCP) (18") | LF | 1188 |  | 0
430-175-118B | Pipe Culvert (Optional Material) (ADS HP Storm) (18") | LF | 270 |  | 0
430-175-124A | Pipe Culvert (Optional Material) (RCP) (24") | LF | 219 |  | 0
430-175-124B | Pipe Culvert (Optional Material) (ADS HP Storm) (24") | LF | 965 |  | 0
430-175-130A | Pipe Culvert (Optional Material) (RCP) (30") | LF | 31 |  | 0
430-175-130B | Pipe Culvert (Optional Material) (ADS HP Storm) (30") | LF | 623 |  | 0
430-175-224 | Pipe Culvert (Optional Material) (ERCP) (19"x30") | LF | 36 |  | 0
430-175-248 | Pipe Culvert (Optional Material) (ERCP) (38"x60") | LF | 55 |  | 0
430-982-641 | Mitered End Section (Elliptical) (38"X60"), CD | EA | 1 |  | 0
430-984-125 | Mitered End Section (Round) (18"), SD | EA | 11 |  | 0
430-984-129 | Mitered End Section (Round) (24"), SD | EA | 1 |  | 0
430-984-629 | Mitered End Section (Elliptical) (19"X30"), SD | EA | 1 |  | 0
515-2-311 | Pedestrian/ Bicycle Railing, Aluminum, 42" Type 1 | LF | 65 |  | 0
520-1-10 | Concrete Curb & Gutter, Type F | LF | 858 |  | 0
520-2-4 | Concrete Curb, Type D | LF | 147 |  | 0
520-5-16 | Traffic Separator Concrete - Type I, 8.5' Wide | LF | 38 |  | 0
522-2-A | Concrete Sidewalk and Driveways, 6" Thick | SY | 2123 |  | 0
522-2-B | Concrete Sidewalk and Driveways, 8" Thick | SY | 757 |  | 0
524-1-1 | Concrete Ditch Pavement, Non Reinforced, 3" | SY | 1 |  | 0
524-1-29 | Concrete Ditch Pavement, Reinforced, 4" | SY | 51 |  | 0
527-2 | Detectable Warnings | SF | 438 |  | 0
530-3-4 | Rip Rap- Rubble, Bank and Shore | TN | 64.5 |  | 0
536-73 | Guardrail Removal | LF | 257 |  | 0
570-1-2 | Performance Turf, Sod | SY | 5409 |  | 0
654-2-27 | Midblock Crosswalk; Rectangular Rapid Flashing Beacon, F&I-Solar, Complete Sign Assembly- Single Direction | AS | 2 |  | 0
700-1-6 | Single Sign Post, Remove | AS | 22 |  | 0
700-1-111 | Single Sign Post (Furnish & Install) (Less than 12SF) | AS | 26 |  | 0
706-1 | Raised Pavement Marker | EA | 9 |  | 0
710-90 | Painted Pavement Markings - Final Surface | LS | 1 |  | 0
711-11-101 | Thermoplastic, Standard, White, Solid, 6" | GM | 0.146 |  | 0
711-11-102 | Thermoplastic, Standard, White, Solid, 8" | GM | 0.04 |  | 0
711-11-103 | Thermoplastic, Standard, White, Solid, 12" | GM | 0.246 |  | 0
711-11-124 | Thermoplastic, Standard, White, Solid, 18" | LF | 182 |  | 0
711-11-125 | Thermoplastic, Standard, White, Solid, 24" | LF | 802 |  | 0
711-11-201 | Thermoplastic, Standard, Yellow, Solid, 6" | GM | 0.043 |  | 0
711-11-202 | Thermoplastic, Standard, Yellow, Solid, 8" | GM | 0.011 |  | 0
711-11-224 | Thermoplastic, Standard, Yellow, Solid, 18" | LF | 12 |  | 0
711-11-231 | Thermoplastic, Standard, Yellow, Solid, 10'-30' Skip, 6" | GM | 0.047 |  | 0
711-17-137 | Thermoplastic, Remove Existing Thermoplastic Pavement Markings- Surface to Remain | SF | 33 |  | 0
SUBTOTAL: ROADWAY |  |  |  |  | 0
WATER SYSTEM
Item | Description | Unit of Measure | Estimated Quantity | Unit Price | Extended Amount
1000-10 | Utility Pipe, 6" DR18 C900 PVC WM | LF | 11 |  | 0
1000-20 | Utility Pipe, 6" DIP CL350 WM | LF | 27 |  | 0
1000-30 | Utility Pipe, 8" DIP CL250 WM | LF | 162 |  | 0
1000-40 | Utility Pipe, 8" DIP CL350 WM | LF | 37 |  | 0
1000-50 | Utility Pipe, 10" DR18 C900 PVC WM | LF | 40 |  | 0
1000-60 | Utility Pipe, 10" HDPE DR11 WM, Directional Drill | LF | 145 |  | 0
1000-70 | Utility Pipe, 10" DIP CL250 WM | LF | 19 |  | 0
1000-80 | Utility Pipe, 12" DR18 C900 PVC WM | LF | 1413 |  | 0
1000-90 | Utility Pipe, 12" DIP CL250 WM | LF | 342 |  | 0
1000-100 | Utility Pipe, 12" DIP CL350 WM | LF | 219 |  | 0
1000-110 | Utility Pipe, 16" HDPE DR11 WM, Directional Drill | LF | 298 |  | 0
1000-120 | Utility Pipe, Steel Casing WM, 16" | LF | 95 |  | 0
1000-130 | Utility Pipe, Split Steel Casing WM, 24" | LF | 16 |  | 0
1000-140 | Utility Fitting, 6" 45° MJ Bend (RJ) | EA | 6 |  | 0
1000-150 | Utility Fitting, 8" 45° MJ Bend (RJ) | EA | 16 |  | 0
1000-160 | Utility Fitting, 10" 45° MJ Bend (RJ) | EA | 4 |  | 0
1000-170 | Utility Fitting, 12" 11.25° MJ Bend (RJ) | EA | 2 |  | 0
1000-180 | Utility Fitting, 12" 22.5° MJ Bend (RJ) | EA | 2 |  | 0
1000-190 | Utility Fitting, 12" 45° MJ Bend (RJ) | EA | 22 |  | 0
1000-200 | Utility Fitting, 10" MJ (RJ) Tee | EA | 1 |  | 0
1000-210 | Utility Fitting, 12" MJ (RJ) Tee | EA | 10 |  | 0
1000-220 | Utility Fitting, 8" MJ (RJ) Reducer | EA | 5 |  | 0
1000-230 | Utility Fitting, 10" MJ (RJ) Reducer | EA | 2 |  | 0
1000-240 | Utility Fitting, 12" MJ (RJ) Reducer | EA | 2 |  | 0
1000-250 | Utility Fitting, 12" MJ (RJ), Special, Cross | EA | 1 |  | 0
1000-260 | Utility Fitting, 16" MJ (RJ) Reducer | EA | 2 |  | 0
1000-270 | 6" Cut-In Connection | EA | 8 |  | 0
1000-280 | 12" Cut-In Connection | EA | 2 |  | 0
1000-290 | Utility Pipe, Plug & Place Out Of Service and Grout, 6" AC WM | LF | 2672 |  | 0
1000-300 | Utility Pipe, Remove & Dispose, 6" AC WM | LF | 1344 |  | 0
1000-310 | Utility Pipe, Remove & Dispose, 12" WM | LF | 84 |  | 0
1000-320 | Pressure Testing, Flushing & Chlorination | LS | 1 |  | 0
1100-10 | Utility Fixture, 6" MJ (RJ) Gate Valve | EA | 1 |  | 0
1100-20 | Utility Fixture, 8" MJ (RJ) Gate Valve | EA | 4 |  | 0
1100-30 | Utility Fixture, 10" MJ (RJ) Gate Valve | EA | 1 |  | 0
1100-40 | Utility Fixture, 12" MJ (RJ) Gate Valve | EA | 8 |  | 0
1100-50 | Utility Fixture, Air Release Valve | EA | 4 |  | 0
1200-10 | Single Polytube Water Service, Short, 1" | EA | 9 |  | 0
1200-20 | Single Polytube Water Service, Long, 1" | EA | 3 |  | 0
1200-30 | Double Polytube Water Service, Short, 1" | EA | 3 |  | 0
1200-40 | Single Polytube Water Service, Long, 1.5" | EA | 1 |  | 0
1300-10 | Fire Hydrant Assembly (FHA) | EA | 6 |  | 0
1300-20 | Fire Hydrant Assembly (FHA), Remove and Dispose | EA | 4 |  | 0
1400-10 | As-Built Survey | LS | 1 |  | 0
SUBTOTAL: WATER SYSTEM |  |  |  |  | 0
LIGHTING
Item | Description | Unit of Measure | Estimated Quantity | Unit Price | Extended Amount
630-2-11 | Conduit, Furnish & Install, Open Trench | LF | 122 |  | 0
630-2-12 | Conduit, Furnish & Install, Directional Bore | LF | 598 |  | 0
635-2-14 | Pull & Splice Box, F&I, 17" X 30" Cover Size | EA | 5 |  | 0
639-1-122 | Electrical Power Service, F&I, Underground, Meter Purchased By Contractor | AS | 1 |  | 0
639-2-1 | Electrical Service Wire, Furnish & Install | LF | 100 |  | 0
641-2-12 | Prestressed Concrete Pole, F&I, Type P-Ii Service Pole | EA | 2 |  | 0
654-2-18 | Midblock Crosswalk: Rec Rapid Flashing Beacon, F&I - Ac, Sign Assembly - Back To Back Accessible Detector | AS | 2 |  | 0
715-1-12 | Lighting Conductors, F&I, Insulated, No. 8-6 (No. 6) | LF | 1222 |  | 0
715-4-13 | Light Pole Complete, Furnish & Install Standard Pole Standard Foundation, 40' Mounting Height | EA | 2 |  | 0
715-7-12 | Load Center, F&I, Primary Voltage | EA | 1 |  | 0
715-4-14 | Light Pole Complete, F&I Standard Pole Standard Foundation, 45' Mounting Height | EA | 2 |  | 0
715-500-1 | Pole Cable Distribution System, Furnish And Install, Conventional | EA | 4 |  | 0
SUBTOTAL: LIGHTING |  |  |  |  | 0
SIGNALIZATION
Item | Description | Unit of Measure | Estimated Quantity | Unit Price | Extended Amount
522-2 | Concrete Sidewalk And Driveway, 6" Thick | SY | 5 |  | 0
630-2-11 | Conduit, Furnish & Install, Open Trench | LF | 10 |  | 0
630-2-12 | Conduit, Furnish & Install, Directional Bore | LF | 20 |  | 0
632-7-1 | Signal Cable - New Or Reconstructed Intersection, Furnish & Install | PI | 1 |  | 0
632-7-2 | Signal Cable - Repair/Replace/Other, Furnish & Install | LF | 195 |  | 0
635-2-14 | Pull & Splice Box, F&I, 17" X 30" Cover Size | EA | 5 |  | 0
646-1-11 | Aluminum Signal Pole, F&I, Pedestal | EA | 2 |  | 0
653-1-11 | Pedestrian Signal, Furnish & Install Led Count Down, 1 Way | AS | 1 |  | 0
653-1-12 | Pedestrian Signal, Furnish & Install Led Count Down, 2 Way | AS | 1 |  | 0
665-1-11 | Pedestrian Detector, F&I, Standard | EA | 8 |  | 0
665-1-60 | Pedestrian Detector, Remove-Pole/Pedestal To Remain | EA | 5 |  | 0
671-2-40 | Traffic Controller, Modify | EA | 1 |  | 0
SUBTOTAL: SIGNALIZATION |  |  |  |  | 0
920
BID SUMMARY
PROJECT TOTAL |  |  |  | 0
**Quantities are not guaranteed. Final payment will be based on actual quantities.
PROJECT TOTAL:
(Use Words to Write Total)