## New_Project_Submittal_Form
#VALUE!
LCU NEW PROJECT SUBMITTAL
AFTER your project receives an approved Development Order (D.O.) from Community Development or a or stipulated review from Lee County Utilities on the Development Order, please submit this completed form along with a pdf of the construction plans and a copy of the Engineer’s Opinion of Probable Cost through eConnect. Please notify LCU staff at LCUdcap@leegov.com once your upload is complete. Please fill the purple shaded fields that are applicable to this project.
Date: |  |  |  |  | DOS # |  |  | LDO # | [6 empty] | Pre-Design Meeting Date:
Project Name:
(As shown on the construction plans)
Strap Number:
Location:
Description of Infrastructure to be turned over to LCU:
Lee County Utilities will own the following infrastructure after it is placed into service. Check all that apply
Water |  | FALSE |  | Potable Water Distribution System | [5 empty] | FALSE | Water Main Extension |  |  |  |  | FALSE | Fire Line backflow(s) |  |  |  |  | FALSE | Hydrant(s)
Sanitary |  | FALSE |  | Gravity Collection System | [5 empty] | FALSE | Force Main |  |  |  |  | FALSE | Lift Station(s)
Other |  | FALSE |  | Water Service(s) | [5 empty] | FALSE | Sewer Service(s) |  |  |  |  | FALSE | Force Main Connection
Reuse |  | FALSE |  | Reuse Main Extension | [5 empty] | FALSE | Reuse Meter Station
Overall dollar amount listed on the Engineer’s Opinion of Probable Cost: | [18 empty] | Review fee: |  |  |  | 835
This project will require the following permits: | [10 empty] | FALSE | FDEP |  |  |  | FALSE | LCDOT |  |  | FALSE | FDOT
DETAILED DESCRIPTION OF RESIDENTIAL WATER CONSUMPTION
Single-Family Residential (INDIVIDUALLY METERED RESIDENTIAL UNITS) | [17 empty] | Meter Size:
Water - Number of SF lots: | [7 empty] | Sewer - Number of SF lots: | [9 empty] | ERUs:
Multi-Family Residential (MASTER-METERED RESIDENTIAL UNITS) | [17 empty] | Meter Size:
Water - Number of MF Units: | [7 empty] | Sewer - Number of MF Units: | [9 empty] | ERUs:
Total Number of Recreation Vehicles or Other types of Metered Residential Units: | [17 empty] | Meter Size:
Water - Number of RV Units: | [7 empty] | Sewer - Number of RV Units: | [9 empty] | ERUs:
#VALUE!
Project Name:
DETAILED DESCRIPTION OF COMMERCIAL/INDUSTRIAL WATER CONSUMPTION
Below please show a detailed description of water consumption for commercial or industrial development by using F.A.C. 62-6.008 guidelines for each meter. We have included a worksheet on the following page to assist in completing this section. Please note: Historical water use data is encouraged.
EXAMPLE-Estimated Flow for Commercial | [6 empty] | Water: |  | 620 |  |  | Sewer: |  | 496 |  |  | Meter Size: |  | 1" |  |  | ERUs: |  |  | 2.48
What will this meter serve? | [5 empty] | 2,500 sq ft medical office building
Detailed business description: | [5 empty] | 2 doctors at 250 gpd each = 500 gpd plus 8 staff members at 15 gpd = 120 gpd.
Total = 620 gpd
EXAMPLE-Estimated Flow for Commercial | [6 empty] | Water: |  | 5500 |  |  | Sewer: |  | 4400 |  |  | Meter Size: |  | 1" |  |  | ERUs: |  |  | 22
What will this meter serve? | [5 empty] | 5,000 sq ft restaurant
Detailed business description: | [5 empty] | 75 indoor seats, 50 outdoor tiki bar seats open more that 16 hours a day
Estimated Flows for Commercial Meter #1 | [6 empty] | Water: |  |  |  |  | Sewer: |  |  |  |  | Meter Size: |  |  |  |  | ERUs:
What will this meter serve?
Detailed business description:
Estimated Flows for Commercial Meter #2 | [6 empty] | Water: |  |  |  |  | Sewer: |  |  |  |  | Meter Size: |  |  |  |  | ERUs:
What will this meter serve?
Detailed business description:
Estimated Flows for Commercial Meter #3 | [6 empty] | Water: |  |  |  |  | Sewer: |  |  |  |  | Meter Size: |  |  |  |  | ERUs:
What will this meter serve?
Detailed business description:
Estimated Flows for Commercial Meter #4 | [6 empty] | Water: |  |  |  |  | Sewer: |  |  |  |  | Meter Size: |  |  |  |  | ERUs:
What will this meter serve?
Detailed business description:
Estimated Flows for Commercial Meter #5 | [6 empty] | Water: |  |  |  |  | Sewer: |  |  |  |  | Meter Size: |  |  |  | ERUs: |  |  | 0
What will this meter serve?
Detailed business description:
Estimated Flows for Commercial Meter #6 | [6 empty] | Water: |  |  |  |  | Sewer: |  |  |  |  | Meter Size: |  |  |  | ERUs: |  |  | 0
What will this meter serve?
Detailed business description:
TOTAL ERUs: | [22 empty] | 0
#VALUE!
Project Name:
OTHER METER INFORMATION
IRRIGATION
Estimated Flows for IRRIGATION Meter: | [9 empty] | Water: | [5 empty] | Meter Size: |  |  |  |  | ERUs: |  |  | 0
For the irrigation meter please attach either the Blaney Criddle formula or a Landscape Architect's calculations
LIFT STATION
Total Number of LCU LIFT/PUMP STATIONS to be constructed in this phase of the project: | [18 empty] | Typical Meter Size: | [5 empty] | 5/8"
EXISTING METERS
Please list all meters to be removed/returned
Please list all existing meters to remain
#VALUE!
Project Name:
FIRE LINE INFORMATION
FIRE LINES (DDCVA) INFORMATION
Fire Line Size | Building Number/Name | [6 empty] | Looped (Y/N) |  |  |  |  | Explain which Fire Line(s) (DDCVA) are looped together. Explain in detail.
#VALUE!
Project Name:
DEVELOPER INFORMATION:
Name of Developer &/or Owner:
Name & Title of Representative:
Mailing Address:
City, State & Zip:
Telephone Number:
E-mail Address:
ENGINEER INFORMATION:
Name of Engineering Firm:
Name of Project Engineer:
E-mail Address:
Telephone Number:
Additional Contact Person(s):
E-mail Address:
Telephone Number:
Additional Contact Person(s):
E-mail Address:
Telephone Number:

## Flow Calculations
FLOW CALCULATIONS (GPD) BY USE
TYPE OF ESTABLISHMENT | EACH/SQFT | GALLONS PER DAY (GPD) | TOTAL WATER GPD
COMMERCIAL:
Airports, Bus Terminals, Train Stations, Port & Dock Facilities (Bathroom Waste Only)
Number of passenger(s) |  | 4 | 0
Add per employee per 8 hour shift |  | 15 | 0
Barber & Beauty Shops
Number of service chairs |  | 75 | 0
Bowling Alley (bathroom waste only)
Number of Bowling lanes |  | 50 | 0
Number of resident(s) |  | 100 | 0
Add per member or patron |  | 25 | 0
Add per employee per 8 hour shift |  | 15 | 0
Factories (Exclusive of Industrial Wastes Gallons per Employee per 8 Hour Shift)
No showers provided |  | 15 | 0
Showers provided |  | 25 | 0
Flea Market (Open 3 or Less Days per Week )
Per non-food service vendor space |  | 15 | 0
Add per food service establishment using single service articles only per 100 Square feet of floor space |  | 50 | 0
Per limited food service establishment |  | 25 | 0
For flea markets open more than 3 days per week estimated flows shall be doubled |  | Y/N | 0
Food Operations
Restaurant operating 16 hours or less per day per seat |  | 40 | 0
Restaurant operating more than 16 hours per day per seat |  | 60 | 0
Restaurant using single service articles only and operating 16 hours or less per day per seat |  | 20 | 0
Restaurant using single service articles only and operating more than 16 hours per day per seat |  | 35 | 0
Bar and cocktail lounge per seat
Number of seats |  | 20 | 0
Number of pool table or video game |  | 15 | 0
Drive-in restaurant
Number of car spaces |  | 50 | 0
Carry out only, including caterers
Per 100 square feet of floor space |  | 50 | 0
Add per employee per 8 hour shift |  | 15 | 0
Institutions per meal
Number of meals |  | 5 | 0
Food Outlets excluding deli’s, bakery, or meat department
per 100 square feet of floor space |  | 10 | 0
Add for deli per 100 square feet of deli floor space |  | 40 | 0
Add for bakery per 100 square feet of bakery floor space |  | 40 | 0
Add for meat department per 100 square feet of meat department floor space |  | 75 | 0
Number of water closet(s) |  | 200 | 0
Hotels & motels
Number of room(s) |  | 100 | 0
Resort hotels, camps, cottages
Number of room(s) |  | 200 | 0
Number of self services laundry machines |  | 750 | 0
Offices: Doctor and Dentist
Number of practitioner(s) |  | 250 | 0
Number of employee(s) per 8 hour shift |  | 15 | 0
Offices: Standard
Number of employee(s) per 8 hour shift |  | 15 | 0
per 100 square feet of floor space, whichever is greater |  | 15 | 0
Service stations (per water closet)
Open 16 hours per day or less |  | 250 | 0
Open more than 16 hours per day |  | 325 | 0
Shopping centers without food or laundry
Number of Square Feet |  | 0.1 | 0
Stadiums, race tracks, ball parks
Number of seats |  | 4 | 0
Stores
Number of Bathrooms |  | 200 | 0
Swimming and bathing facilities, public per person |  | 10 | 0
Theatres and Auditoriums
Number of seats |  | 4 | 0
Veterinary Clinic
Number of practitioner(s) |  | 250 | 0
Number of employee(s) per 8 hour shift |  | 15 | 0
(c) Add per kennel, stall or cage |  | 20 | 0
Warehouse
(a) Add per employee per 8 hour shift |  | 15 | 0
(b) Add per loading bay (Roll up Doors) |  | 100 | 0
(c) Self-storage, per unit (up to 200 units) |  | 1 | 0
add 1 gallon for each 2 units or fraction thereof, for over 200 units, and shall be in addition to employees, offices or living quarters flow rates.
INSTITUTIONAL:
Churches which includes kitchen wastewater flows unless meals prepared on a routine basis
Number of Seats |  | 3 | 0
If meals served on a regular basis add per meal prepared |  | 5 | 0
Hospitals which does not include kitchen wastewater flows
Number of bed(s) |  | 200 | 0
add per meal prepared |  | 5 | 0
Nursing, rest homes, adult congregate living facilities which does not include kitchen wastewater flows
Number of bed(s) |  | 100 | 0
add per meal prepared |  | 5 | 0
Parks, public picnic
With toilets - Number of person(s) |  | 4 | 0
With bathhouse, showers & toilets - Number of person(s) |  | 10 | 0
Public institutions other than schools and hospitals which does not include kitchen wastewater flows
Number of person(s) |  | 100 | 0
add per meal prepared |  | 5 | 0
Schools
Day-type School (Number of Students) |  | 10 | 0
Add for showers |  | 4 | 0
Add for cafeteria |  | 4 | 0
Add for day school workers |  | 15 | 0
Boarding-type School (Number of Students) |  | 75 | 0
Work/construction camps, semi-permanent
Number of worker(s) |  | 50 | 0

## Sample Quote
#VALUE!
PLAN REVIEW FEES AND LCU PROJECT DESCRIPTION
PROJECT NAME:
STRAP #(S):
QUOTE ISSUED TO: | [5 empty] | FIRM:
EMAIL: | [5 empty] | LDO #:
LCU #: | [5 empty] | DOS #:
PLEASE NOTE: THIS PROJECT WILL BE REQUIRED TO FOLLOW THE MOST CURRENT
APPROVED SECTIONS OF LEE COUNTY UTILITIES DESIGN MANUAL/OPERATIONS MANUAL
PROJECT DESCRIPTION: Plan Review Fees Only - Based on attached EOPC and Plans provided. Capacity Fee Quote is pending
OVERALL DOLLAR AMOUNT LISTED ON ENGINEER'S OPINION OF PROBABLE COST: | [7 empty] | 0
TOTAL DUE UPON APPROVAL TO CONSTRUCT SUBMITTAL: (ESTIMATED COST OF CONSTRUCTION X 1% OR $835.00 WHICHEVER IS GREATER) | [7 empty] | 835
PLEASE MAKE CHECKS PAYABLE TO ‘LEE COUNTY BOCC’
COMPLETED BY:
REVIEWED BY:
#VALUE!
ESTIMATED FEE QUOTE - CALCULATION OF CONNECTION/CAPACITY FEES TO BE PAID
PROJECT NAME:
STRAP #(S):
QUOTE ISSUED TO: | [5 empty] | FIRM:
EMAIL: | [5 empty] | LDO #:
LCU #: | [5 empty] | DOS #:
PROJECT DESCRIPTION:
COMPLETED BY:
REVIEWED BY:
#VALUE!
PROJECT NAME:
LCU #: | [5 empty] | FIRM:
ESTIMATED FEE QUOTE - CALCULATION OF CONNECTION/CAPACITY FEES
TYPE OF CONNECTION | METER SIZE | UNITS/GPD* | WATER |  |  |  | UNITS/GPD* | WASTEWATER
Single-Family Residential (INDIVIDUALLY METERED RESIDENTIAL UNITS) 1 ERU = 250 GPD Water and/or 200 GPD Sewer |  | 0 | X | 3050 | = | 0 | 0 | X | 3325 | = | 0
Multi-Family Residential (MASTER-METERED RESIDENTIAL UNITS) 0.8 ERU = 200 GPD Water and/or 160 GPD Sewer |  | 0 | X | 2440 | = | 0 | 0 | X | 2660 | = | 0
RVs Residential (MASTER-METERED RESIDENTIAL UNITS) 0.4 ERU = 100 GPD Water and/or 80 GPD Sewer |  | 0 | X | 1220 | = | 0 | 0 | X | 1330 | = | 0
COMMERCIAL, INDUSTRIAL, OTHER ** COMMERCIAL SEWER GPD IS CALCULATED AT 80% OF WATER GPD |  | 0 | X | 12.2 | = | 0 | 0 | X | 16.625 | = | 0
|  | 0 | X | 12.2 | = | 0 | 0 | X | 16.625 | = | 0
|  | 0 | X | 12.2 | = | 0 | 0 | X | 16.625 | = | 0
|  | 0 | X | 12.2 | = | 0 | 0 | X | 16.625 | = | 0
IRRIGATION** (Max 2,000 GPD) |  | 0 | X | 12.2 | = | 0
NUMBER OF LIFT STATIONS (1 ERU/250 GPD* FOR EACH WATER SERVICE) |  | 0 | X | 3050 | = | 0
| WATER SUB-TOTAL: |  |  |  |  | 0 | WASTEWATER SUB-TOTAL |  |  |  | 0
| PRE-PAID CREDIT (WATER) | [5 empty] | PRE-PAID CREDIT (WASTEWATER)
TOTAL DUE UPON APPROVAL TO CONSTRUCT SUBMITTAL: (ESTIMATED COST OF CONSTRUCTION X 1% OR $835.00 WHICHEVER IS GREATER) | [7 empty] | 835
THE LISTED RATES BELOW ARE FOR FUTURE CAPACITY FEES DUE AT THE TIME OF FINAL ACCEPTANCE AND BASED ON THE FINAL INSPECTION DATE
DUE UPON FINAL ACCEPTANCE SUBMITTAL: WATER/WASTEWATER CAPACITY FEES IF BEFORE MAY 5, 2027 PLEASE NOTE: FEES ARE DUE PRIOR TO PLACING THE SYSTEM INTO SERVICE. | [10 empty] | 0
CAPACITY RATES AT THIS TIME: WATER @ $12.20 => | 0 |  | WASTEWATER @ $16.6250 => |  |  |  | 0
DUE UPON FINAL ACCEPTANCE SUBMITTAL: WATER/WASTEWATER CAPACITY FEES IF BEFORE MAY 5, 2028 PLEASE NOTE: FEES ARE DUE PRIOR TO PLACING THE SYSTEM INTO SERVICE. | [10 empty] | 0
CAPACITY RATES AT THIS TIME: WATER @ $13.42 => | 0 |  | WASTEWATER @ $18.2875 => |  |  |  | 0
DUE UPON FINAL ACCEPTANCE SUBMITTAL: WATER/WASTEWATER CAPACITY FEES IF ON/AFTER May 5, 2028 PLEASE NOTE: FEES ARE DUE PRIOR TO PLACING THE SYSTEM INTO SERVICE. | [10 empty] | 0
CAPACITY RATES AT THIS TIME: WATER @ $14.64 => | 0 |  | WASTEWATER @ $19.95 => |  |  |  | 0
PLEASE MAKE CHECKS PAYABLE TO ‘LEE COUNTY BOCC’
---THIS QUOTE IS SUBJECT TO CHANGE UPON REVIEW OF PROJECT AND/OR CHANGE IN DEVELOPMENT---
PRIOR TO ISSUING RESIDENTIAL AVAILABILITY LETTERS; APPLICATION FOR SERVICE AND PAYING METER FEES WILL BE REQUIRED
*GALLONS PER DAY | [6 empty] | INITIAL:
**BASED ON ESTIMATED FLOWS IN GPD WITH A MIN 250 GPD WATER & 200 GPD SEWER (1 ERU)

## 5 Year Calc
#VALUE!
BEFORE May 5, 2027
TYPE OF CONNECTION | METER SIZE | UNITS/GPD* | POTABLE WATER |  |  |  | UNITS/GPD* | WASTEWATER
Single-Family Residential (INDIVIDUALLY METERED RESIDENTIAL UNITS) 1 ERU = 250 GPD Water and/or 200 GPD Sewer |  | 0 | X | 3050 | = | 0 | 0 | X | 3325 | = | 0 | Irr | Meter Size | Fire Line | Fire Line
Multi-Family Residential (MASTER-METERED RESIDENTIAL UNITS) 0.8 ERU = 200 GPD Water and/or 160 GPD Sewer |  | 0 | X | 2440 | = | 0 | 0 | X | 2660 | = | 0
RVs Residential (MASTER-METERED RESIDENTIAL UNITS) 0.4 ERU = 100 GPD Water and/or 80 GPD Sewer |  | 0 | X | 1220 | = | 0 | 0 | X | 1330 | = | 0 | 1" | 5/8" | 2" | Yes
COMMERCIAL, INDUSTRIAL, OTHER (GPD) *BASED ON ESTIMATED FLOWS IN GPD WITH A MINIMUM 250 GPD WATER & 200 GPD SEWER (1 ERU) |  | 0 | X | 12.2 | = | 0 | 0 | X | 16.625 | = | 0 | 1.5" | 1" | 3" | No
|  | 0 | X | 12.2 | = | 0 | 0 | X | 16.625 | = | 0 | 2" | 1.5" | 4" | N/A
|  | 0 | X | 12.2 | = | 0 | 0 | X | 16.625 | = | 0 |  | 2" | 6"
|  | 0 | X | 12.2 | = | 0 | 0 | X | 16.625 | = | 0 |  | 3" | 8"
IRRIGATION** (Max 2,000 GDP) |  | 0 | X | 12.2 | = | 0 | [6 empty] | 4" | 10"
NUMBER OF LIFT STATIONS (1 ERU/250 GPD* FOR EACH WATER SERVICE) |  | 0 | X | 3355 | = | 0 | [6 empty] | 6" | 12"
| WATER SUB-TOTAL: |  |  |  |  | 0 | WASTEWATER SUB-TOTAL |  |  |  | 0 |  | 8" | 16"
| PRE-PAID CREDIT (WATER) |  |  |  |  | 0 | PRE-PAID CREDIT (WASTEWATER) |  |  |  | 0 |  | 10"
12"
DUE UPON FINAL SUBMITTAL: WATER/WASTEWATER CAPACITY FEES IF BEFORE May 5, 2027 Please Note: Fees are due prior to placing the system into service. Capacity Rates at this time: Water= $12.20; Wastewater=$16.6250 | [10 empty] | 0 |  | 16"
BEFORE May 5, 2028
TYPE OF CONNECTION | METER SIZE | UNITS/GPD* | POTABLE WATER |  |  |  | UNITS/GPD* | WASTEWATER
Single-Family Residential (INDIVIDUALLY METERED RESIDENTIAL UNITS) 1 ERU = 250 GPD Water and/or 200 GPD Sewer |  | 0 | X | 3355 | = | 0 | 0 | X | 3657.5 | = | 0
Multi-Family Residential (MASTER-METERED RESIDENTIAL UNITS) 0.8 ERU = 200 GPD Water and/or 160 GPD Sewer |  | 0 | X | 2684 | = | 0 | 0 | X | 2926 | = | 0
RVs Residential (MASTER-METERED RESIDENTIAL UNITS) 0.4 ERU = 100 GPD Water and/or 80 GPD Sewer |  | 0 | X | 1342 | = | 0 | 0 | X | 1463 | = | 0
COMMERCIAL, INDUSTRIAL, OTHER (GPD) *BASED ON ESTIMATED FLOWS IN GPD WITH A MINIMUM 250 GPD WATER & 200 GPD SEWER (1 ERU) |  | 0 | X | 13.42 | = | 0 | 0 | X | 18.2875 | = | 0
|  | 0 | X | 13.42 | = | 0 | 0 | X | 18.2875 | = | 0
|  | 0 | X | 13.42 | = | 0 | 0 | X | 18.2875 | = | 0
|  | 0 | X | 13.42 | = | 0 | 0 | X | 18.2875 | = | 0
IRRIGATION** (Max 2,000 GDP) |  | 0 | X | 13.42 | = | 0
NUMBER OF LIFT STATIONS (1 ERU/250 GPD* FOR EACH WATER SERVICE) |  | 0 | X | 3660 | = | 0
| WATER SUB-TOTAL: |  |  |  |  | 0 | WASTEWATER SUB-TOTAL |  |  |  | 0
| PRE-PAID CREDIT (WATER) |  |  |  |  | 0 | PRE-PAID CREDIT (WASTEWATER) |  |  |  | 0
DUE UPON FINAL SUBMITTAL: WATER/WASTEWATER CAPACITY FEES IF BEFORE May 5, 2028 Please Note: Fees are due prior to placing the system into service. Capacity Rates at this time: Water= $13.42; Wastewater=$18.2875 | [10 empty] | 0
ON/AFTER May 5, 2028
TYPE OF CONNECTION | METER SIZE | UNITS/GPD* | POTABLE WATER |  |  |  | UNITS/GPD* | WASTEWATER
Single-Family Residential (INDIVIDUALLY METERED RESIDENTIAL UNITS) 1 ERU = 250 GPD Water and/or 200 GPD Sewer |  | 0 | X | 3660 | = | 0 | 0 | X | 3990 | = | 0
Multi-Family Residential (MASTER-METERED RESIDENTIAL UNITS) 0.8 ERU = 200 GPD Water and/or 160 GPD Sewer |  | 0 | X | 2928 | = | 0 | 0 | X | 3192 | = | 0
RVs Residential (MASTER-METERED RESIDENTIAL UNITS) 0.4 ERU = 100 GPD Water and/or 80 GPD Sewer |  | 0 | X | 1464 | = | 0 | 0 | X | 1596 | = | 0
COMMERCIAL, INDUSTRIAL, OTHER (GPD) *BASED ON ESTIMATED FLOWS IN GPD WITH A MINIMUM 250 GPD WATER & 200 GPD SEWER (1 ERU) |  | 0 | X | 14.64 | = | 0 | 0 | X | 19.95 | = | 0
|  | 0 | X | 14.64 | = | 0 | 0 | X | 19.95 | = | 0
|  | 0 | X | 14.64 | = | 0 | 0 | X | 19.95 | = | 0
|  | 0 | X | 14.64 | = | 0 | 0 | X | 19.95 | = | 0
IRRIGATION** (Max 2,000 GDP) |  | 0 | X | 14.64 | = | 0
NUMBER OF LIFT STATIONS (1 ERU/250 GPD* FOR EACH WATER SERVICE) |  | 0 | X | 3965 | = | 0
| WATER SUB-TOTAL: |  |  |  |  | 0 | WASTEWATER SUB-TOTAL |  |  |  | 0
| PRE-PAID CREDIT (WATER) |  |  |  |  | 0 | PRE-PAID CREDIT (WASTEWATER) |  |  |  | 0
DUE UPON FINAL SUBMITTAL: WATER/WASTEWATER CAPACITY FEES IF ON/AFTER May 5, 2028 Please Note: Fees are due prior to placing the system into service. Capacity Rates at this time: Water= $14.64; Wastewater=$19.95 | [10 empty] | 0